## Slide 1: Pilot for harmonization of diagnostic protocols for seed pests focused on Tomato Brown Rugose Fruit Virus (ToBRFV)
Marlene Ortiz Berrocal
AMSAC
46th NAPPO Annual Meeting
December 5th, 2023

## Slide 2: Background
  ToBRFV is a regulated pest for tomato and pepper propagative material (including seeds) in NAPPO countries.
  There is a lot of tomato and pepper seed trade between NAPPO countries.
  Harmonization of diagnostic protocols for ToBRFV in seeds would facilitate trade among NAPPO countries:
    Address discrepancies in diagnostic test results for the virus
    Reducing delays and costs of controversial seed testing results
    Alleviate additional testing of seed shipments.

## Slide 3: Background
Project proposal by Mx industry, prepared and submitted to NAPPO for consideration to include in the NAPPO work program:
  “Recognition of diagnostic tests for seed pests among NAPPO member countries”
Proposal was ranked as “High priority”, and a more focused approach using ToBRFV in tomatoes and peppers was suggested.
Launching of NAPPO seeds expert group to work on pilot Project.
“Pilot for harmonization of diagnostic protocols for seed pests focused on ToBRFV”

## Slide 4
Patricia McAllister, ACIA
Pamela Ross, ACIA
Huimin Xu, ACIA
Jennifer Nickerson, ACIA (ad-hoc member)
Lauren Comin, Seeds Canada
Edward Podleckis, (Jubilado USDA- APHIS
Vessela Mavrodieva, USDA-APHIS
Nancy Osterbauer, USDA-APHIS
Geoffrey Dennis, USDA-APHIS
Kevin Ong, Texas A&M
Samantha Thomas, Bayer
Rick Dunkle, ASTA
José Manuel Cambrón Crisantos, SENASICA
Jessica Berenice Valencia Luna, SENASICA
Daniela Alejandra Bocanegra Flores, SENASICA
Ángel Ramírez Suárez, SENASICA
Beatriz Xoconostle Cazares, CINVESTAV
Eduardo Garrido, INIFAP
Marlene Ortiz, AMSAC-Chair
Mario Puente Raya, AMSAC
Expert group members

## Slide 5: Goals
  Evaluate selected molecular diagnostic assays currently employed by NAPPO member countries and/or major trading partners.
  Recommend one or more protocols for use in phytosanitary diagnostic tests for the virus in tomato and pepper seeds.
  Develop a NAPPO standard procedure to evaluate seed diagnostic protocols that could be applied to future diagnostics developed for other seed pathogens.

## Slide 6: Approach
Pilot Project workplan (subgroups)
Subgroup 1: Protocol selection
Subgroup 2: Experimental design
Subgroup 3: Logistics
Subgroup 4: Writing – scientific paper
Draft Terms of Reference
(ToR)
ToR Review and approval
NAPPO AMC and EC
Start Ring test
Final report

## Slide 7
Determine criteria for selecting candidate protocols to compare
Review literature for candidate protocols
Select protocols to compare
Estimate budget
Subgroup 1
Approach (cont…)
Validated
Molecular
Used in NAPPO countries
15 considered protocols, 5 selected

## Slide 8: Selected molecular protocols for ToBRFV diagnostic
Conventional PCR (RT-PCR)
SENASICA based on RdRp RT-PCR (Rodríguez-Mendoza, J., et al., 2019)
ACIA-CDFA (California Department of Food and Agriculture) based on MP RT-PCR; ACIA protocol
APHIS – FDACS (Florida Department of Agriculture and Consumer Services) based on CP RT-PCR: APHIS-PPQ inedit protocol
Real time PCR (qRT-PCR)
ISHI-Veg duplex (MP+CP) real time PCR: (ISF, Tomato-ToBRFV_2019.09.pdf)
APHIS PPQ, MP primers developed by K-S. Ling, APHIS PPQ protocol

## Slide 9
Describe method to compare protocols
Determine specifics used to compare protocols
Describe criteria used to determine acceptability of protocols
Establish procedures to evaluate results
Subgroup 2
Approach (cont…)
Experimental design development

## Slide 10
Subgroup 3
Approach (cont…)
Prepare list of participating labs
Obtain healthy and diseased seed
Prepare and distribute ring test seed panels
Obtain necessary permits
Develop system for data collection, storage and analysis
Develop and distribute work instructions and forms for recording data
Distribute required reagents
3

## Slide 11: Logistics- import permits
Required by Mexico and Canada
Random and coded samples
Panel composition and distribution
Temperature monitoring during shipping period

## Slide 12: Reagents
Protocols were coded: A, B, C, D, E.
Reagents bought in bulk to reduce costs
Aliquots of the reagents were prepared and packaged in the USDA Plant Pathogen Confirmatory Diagnostic Laboratory (PPCDL).
Packages were distributed to participant laboratories in Canada, USA and México.
Reagents and samples were included for pretesting prior to formal testing
Notes: Reagents provided: labs run assays as described to reduce variability

## Slide 13: Guidelines for ring test
Documents were prepared with general information.
Information from the protocols was reviewed and compiled in the instructions for the laboratories.
Instructions were developed for each of the different experimental designs.
Instructions were prepared for collecting data and entering it into the expert group portal.
Instructions for reporting data were specific for each experimental design.
Notes: Reagents provided: labs run assays as described to reduce variability

## Slide 14: Data collection, storage and analysis
The APHIS laboratory portal was created specifically for this Project
Results were captured confidentially
Participating labs received training for data entering into the portal.
Data were uploaded into a form specifically designed for this Project to be analysed.
Notes: Reagents provided: labs run assays as described to reduce variability

## Slide 15: Ring test

## Slide 16: Participating labs (9)
Country | NPPO labs & NPPO-authorized labs
Canada | 2
USA | 4
México | 3

## Slide 17: Evaluated parameters
Limit of detection
Specificity
Sensitivity
Precision
Linearity and accuracy

## Slide 18: Recommendations (final report)
Based on analysis of the ring test data, protocols A (CDFA), B (ISHI-Veg/NSHS), C ( USDA-APHIS-RT PCR), and D (USDA-APHIS- cPCR) produced comparable results and could be used interchangeably for the detection of ToBRFV in tomato and pepper seeds. They provide a choice between 2 real-time PCR and 2 conventional PCR methodologies.
Protocols B, C, and D performed optimally in relation to all assayed parameters and variables evaluated.
Furthermore, protocols B, C and D could be recognized by all three NAPPO member countries for phytosanitary testing of seeds for the presence of ToBRFV.
This will facilitate safe and expeditious trade of tomato and pepper seeds in our region and avoid retesting by exporting and importing countries.
The experimental design used in this study can serve as a model for future studies to evaluate other diagnostic protocols for the detection of other seed-transmitted pests of regulatory significance.

## Slide 19: Recommendations (final report)
Write a scientific paper to publish in a peer-reviewed journal.
Upload publication in the NAPPO website.
A NAPPO Decision Document will be written and signed by the Executive Committee.
Project completed.

## Slide 20: Acknowledgements
NAPPO Project Expert Group
Participating Laboratories: Canada: Canadian Food Inspection Agency (CFIA) Charlottetown Laboratory, CFIA Ottawa Plant Laboratory; USA: APHIS PPQ Plant Pathogen Confirmatory Diagnostics Laboratory (PPCDL); Seed Science Center at Iowa State University; California Seed and Plant Laboratory; University of Florida /IFAS Plant Diagnostic Center; Mexico: Laboratorio de Virología CNRF/SENASICA; Laboratorio de Biología Molecular y Genómica Funcional (CIAD); Laboratorio de diagnóstico Integral Fitosanitario (LADIFIT)
Laboratories that produced the ring-test material: APHIS-PPQ PPCDL; Center for Research and Advanced Studies of the National Polytechnic Institute (CINVESTAV, México); Texas A&M Plant Disease Diagnostic Laboratory.
Financial support from: American Seed Trade Association (ASTA), NAPPO and United State Department of Agriculture (USDA) APHIS PPQ, Mexico Seed Trade Association (AMSAC).

## Slide 21: Thank you